## Asset List
assetName | assetSkills | assetLocation | assetBuilding | assetBuildingFloor | assetBuildingFloorLocation
ACMV_ Air Cooled Split Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 7 | L7 ICT RISER
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 9 | L9 OFFICE AREA PANTAI VIEW
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 6 | L6 OFFICE AREA PANTAI VIEW
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 5 | L5 OFFICE AREA FEDERAL VIEW
Fire Protection_ Mimic Panel | MECHANICAL | MENARA UEM | MENARA UEM | Ground Floor | GF FIRE CONTROL ROOM
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 5 | L5 LIFT LOBBY
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 9 | L9 OFFICE AREA FEDERAL VIEW
CCTV_ Booster / Control | ELECTRICAL | MENARA UEM | MENARA UEM | Ground Floor | GF FIRE CONTROL ROOM
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 7 | L7 OFFICE AREA FEDERAL VIEW
ACMV_ Air Cooled Split Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 9 | L9 ICT RISER
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 5 | L5 OFFICE AREA PANTAI VIEW
Water Supply_ Fiberglass Reinforced Plastic Tank | MECHANICAL | MENARA UEM | MENARA UEM | Level 9 | L9 BREAK TANK PUMP ROOM
Fire Protection_ Dry Riser Tank | MECHANICAL | MENARA UEM | MENARA UEM | Level 9 | L9 BREAK TANK PUMP ROOM
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 6 | L6 LIFT LOBBY
ACMV_ Air Cooled Split Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 3 | L3 ICT RISER
ACMV_ Air Cooled Split Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 8 | L8 ICT RISER
Fire Protection_ Automated BOMBA Link | MECHANICAL | MENARA UEM | MENARA UEM | Ground Floor | GF FIRE CONTROL ROOM
Guard Devices_ Controls | MECHANICAL | MENARA UEM | MENARA UEM | Ground Floor | GF FIRE CONTROL ROOM
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 8 | L8 OFFICE AREA PANTAI VIEW
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 8 | L8 OFFICE AREA FEDERAL VIEW
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 6 | L6 OFFICE AREA FEDERAL VIEW
ACMV_ Variable Refrigerant Volume_ Outdoor | MECHANICAL | MENARA UEM | MENARA UEM | Level 9 | L9 AC LEDGE
Electrical Supply_ Solar_ Controls | ELECTRICAL | MENARA UEM | MENARA UEM | Ground Floor | GF FIRE CONTROL ROOM
ACMV_ Air Cooled Split Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 2 | L2 ICT RISER
ACMV_ Air Cooled Split Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 5 | L5 ICT RISER
ACMV_ Air Cooled Split Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 3A | L3A ICT RISER
ACMV_ Air Cooled Split Unit | MECHANICAL | MENARA UEM | MENARA UEM | Ground Floor | GF FIRE CONTROL ROOM
ACMV_ Fan Coil Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 7 | L7 OFFICE AREA PANTAI VIEW
PA System_ Mixer/Amplifier | ELECTRICAL | MENARA UEM | MENARA UEM | Ground Floor | GF FIRE CONTROL ROOM
BAS_ Controller | MECHANICAL | MENARA UEM | MENARA UEM | Ground Floor | GF FIRE CONTROL ROOM
Fire Protection_ Main Alarm Panel | MECHANICAL | MENARA UEM | MENARA UEM | Ground Floor | GF FIRE CONTROL ROOM
ACMV_ Air Cooled Split Unit | MECHANICAL | MENARA UEM | MENARA UEM | Level 6 | L6 ICT RISER
LED Downlight | ELECTRICAL | MENARA UEM | MENARA UEM | Level 8 | LEVEL 8 FEMALE TOILET